## Slide 1: Strategy for Renewable Electricity in San Diego by 2020
Richard Caputo
San Diego Renewable Energy Society
Chapter of the American Solar Energy Society
20 Sept 2010

## Slide 2: OUTLINE
A Point of View
National Level
  Climate Change
  Non-Carbon Options
Apply to San Diego
  Energy Tribes
  Goals for Choosing Renewable Energy (RE)
  RE Resources Magnitude
  Contribution Toward Peaking Needs
  RE Cost including Battery Storage
  Environmental Characteristics
  2020 RE Projection
  Conclusion

## Slide 3: APPROACH
Take a Particular But General Point of View About:
  Energy
  Environment, and
  Equity Issues
Identify Some Problems and Develop Solutions
Go Back and Identify Other Points of View
Revaluate the Problem and Solutions

## Slide 4: Why This Approach ?
You can’t really talk about what you call a “problem” and what you call a “solution” without talking about different value systems
Some of us may not be disagreeing about technical data but about core values

## Slide 5: A Particular Point of View
See the world as controllable
Nature is stable until pushed beyond discoverable limit
Environmental management requires:
  certiﬁed experts to determine the precise locations of nature’s limits, and
  statutory regulation to ensure that all economic activity is kept with those limits
  Man is malleable, deeply ﬂawed but redeemable by long-lasting, and trustworthy institutions
  Fair distribution is by need, and the need is determined by expert and dispassionate authority

## Slide 6: People Causing Rapid Climate Change
Human Driven with 90% Probability ( IPCC,2007)
Carbon Dioxide (CO2) less than 300 ppm for last 650,000 yrs
Since 1750, CO2 from 280 to 380 pp (= + 0.5C)
100 ppm Swing Is a Large Number
  Caused 1 Mile Thick Ice Over Chicago (280 to 180)
Without CO2 Reductions:
  Unprecedented Warming with both flood and drought
  Large Sea Level Rise
  Large-Scale Species Extinctions --up to 80% by 2100
  100s Millions of Climate Change Refugees

## Slide 7: People driven simulations correlate well with observed upper-level ocean temperatures

## Slide 8: Who Are Skeptics
Being paid by the fossil industry to introduce “doubt”
Most Who Own or Work in the Fossil Industry
Those Who Feel That Anything That Leads to a Greater Role for Government Should Not Be Supported e.g. smoking causes cancer, humans causing CC, etc
About 30% of U.S. Public Responding to General Media Saying Climate Change Is Due to Natural Variability, Scientists Seeking More Grants, or a Hoax, etc
AAPG (American Asso. of Petroleum Geologists) is the only scientific body of national or international standing known to reject the basic findings of human influence
Independent Skeptics Who Break with Scientific Establishment and Go It Alone, e.g.
  - Freeman Dyson, Don Rapp, etc

## Slide 9: Who Believes Humans Causing CC
IPCC – Intergovernmental Panel on Climate Change Made Up of ~ 2500 Scientists in the Field
  - 4th Assessment Report finds that human actions are "very likely" (90% probability) the cause of global warming”
Signatories of Kyoto Agreement
- 187 Nations Signed and Ratified
- 1 Nation Signed but Not Intending to Ratify (U.S.)
- 2 Nations Have No Position (Afghanistan & San Marino)
32 National Science Academies
American Scientific Organizations such as: AAAS, ACS, AGU, AMS, AIP, APS, GSA, IUGG, AMS, AQA, ASM, SAF, AAP, ACPM, AMA, etc.

## Slide 10: National Assessment
American Solar Energy Society (www.ases.org)
  Reviewed 6 Renewable Energy (RE) Options
  Reviewed Energy Efficiency (EE) in All Major Sectors
  National Experts Participated
Ground rules:
  Identify options
  Assess cost in comparison with EIA national cost model with EIA conventional fuels estimates
  Consider barriers and impediments
  Realistic Projections
Results Added and Compared to CO2 reduction Goals

## Slide 11: Contributors for Non-Carbon Sources
Buildings: Marilyn Brown, Therese Stovall, and Patrick Hughes (Oak Ridge National Laboratory)
Plug-In Hybrid Electric Vehicles: Peter Lilienthal and Howard Brown (National Renewable Energy Laboratory [NREL])
Overall Energy Efficiency: Joel Swisher (Rocky Mountain Institute)
Concentrating Solar Power: Mark Mehos (NREL) and David
Kearney (Kearney and Associates)
Photovoltaics: Paul Denholm and Robert Margolis (NREL) and Ken Zweibel (PrimeStar Solar, Inc.)
Wind Power: Michael Milligan (NREL)
Biomass: Ralph Overend and Anelia Milbrandt (NREL)
Biofuels: John Sheehan (NREL)
Geothermal Power: Martin Vorum (NREL) and Jefferson Tester (MIT)
Summary/Editor: Charles Kutscher, American Solar Energy Society

## Slide 12: U.S. Carbon Emissions 2030 Potential

## Slide 13: GOOD NEWS
ENERGY EFFICIENCY and RENEWABLE ENERGY
CAN
REDUCE CARBON EMISSIONS and MEET GOAL for the U.S.
AT
A REASONABLE COST

## Slide 14: Renewable Contributions

## Slide 15: Conclusions
Energy Efficiency Could Negate U.S. Emissions Growth
Six Renewables Can Provide Deep Cuts in Emissions
  Provide about 50% of total electricity
  Provide about 40% of liquid fuels in 2030
U.S. Has Abundant Renewable Resources Spread Throughout the Country
Wind Can Provide ~1/3 of Renewable Electricity and Remainder Split Evenly Among Other 4 Resources
EE and RE Can Begin Today to Tackle Global Warming
Continued R&D and Policy Support Will Help These Technologies Achieve Their Large Future Potential

## Slide 16: Conclusions, continued
4 of 5 Renewable Electricity Options Depend on Transmission Wires
  Wind
  CSP
  Geothermal
  Biomass Electricity
Even On-site PV Depends on Wires in Grid for Back Up
Initially (up to 2025), Wires Bring RE to Regional Loads
Finally ( after about 2025), Wires Needed to Move Electricity to Other Regions
  High Voltage DC Transmission Lines
    Efficient Lower Cost Long Distance Energy Transfer
Will Enable Renewable Electricity to Exceed 50% and Combined with Additional Efficiency, Attain Further Reduction of Carbon Emissions

## Slide 17: ???
Carbon-free Solution Depends on:
  Level Playing Field
    Discontinue BAU Subsidies to Old Energy
    Invest in New Energy
    Place Dollar Cost on Carbon Release
    Restructure Energy Infrastructure to Work with RE
      Rate Structure
      Smart Grid
      Transmission Lines
  Sustaining Support for a Century or More
  Cooperating with Other Nations
A Level Playing Field Depends on Citizens Engaging the Political Process

## Slide 18: Apply to San Diego Region
In the Renewable Energy Electric Sector

## Slide 19: Overview of Perceptions and Conflicts Over Energy Issues
Use Cultural Anthropologists “Cultural Bias Theory” As a Framework (1)
Internally Consistent World Views
Enable Efficient Coping Strategies
ENERGY TRIBES in Collision:
  Egalitarian
  Individualism
  Hierarchical
  Fatalism

## Slide 20: Major RE Power System Goals
1. To Minimize Fossil Fuel Use and/or Expensive Storage:
  Sum of Renewables Should Approach Average Capacity Factor of Current SD Grid
  San Diego Grid Capacity Factor ~ 0.54
    Currently Is a Combination of Baseload, Intermediate and Peaker Power Plants
2. To Use Lower Cost Options
3. To Be Mindful of RE Impacts
4. To Balance RE Between Region and SD Cty

## Slide 21: San Diego Regional Energy
Region is SD Cty, Imperial Cty and Northern Baja
2003 Study (3) Showed Almost All of Renewable Energy (RE) Available Outside San Diego Cty
  About 42 GW out of 47 GW Total Technical Potential
  Largest Single Resource Is Desert RE in Imperial Cty
    70% of Total
SANDAG Set Goal of 50% RE from SD Cty
  0ver 60% of Current Electricity from Outside SD Cty
2006 EWG Study Laid Out Approach to Reach 50% Goal (4)

## Slide 22: SD Region RESOURCE MAGNITUDE, MW (5,8,10,11,12)
TECHNOLOGY | GROSS POTENTIAL | TECHNICAL POTENTIAL | CURRENT
CONC SOLAR, Total (San Diego) | 296,000 (35,000) | 35,400 (3,500+2900 ) | Zero
Roof Top PV | ? | 1500 to 4700 MW | 74 MW
GEOTHERMAL, Total (Baja California) | large | 2,500 to 4,000 (840) | 1260 MW (720)
WIND, Total (San Diego Cty) (Baja California) | 2,500 to 2,800 | 5700 (up to 960) (up to 4000) | 50 MW
BIO-Mass and Gas | ? | 120 to 180 | 39 MW
Small HYDRO, Total (San Diego Cty) (Imperial Cty) (Baja California) | ? | 170 (10) (up to 86) (up to 75) | 94.5 MW (8) (86.5)

## Slide 27
Summer Peak
Winter Peak

## Slide 28: Contribution to Peak Power for RE with 500 MW Name Plate Rating, Approximation Based on Arizona Utility
RENEWABLE ENERGY TECHNOLOGY | PEAK CONTRIBUTION, MW | % PEAK
Flat PV | 112 - 300 | 22-60 (13)
2X Tracking PV | 340 | 68
Dish-Stirling | 327 | 65
Parabolic Trough or Central Receiver | 370 | 74
PT or CR plus Thermal Storage | 535 | 107
Hybrid Dish-Stirling | 562 | 110

## Slide 29: Goal of Balanced RE Grid
To Minimize Use of Fossil Fuels and Expensive Storage
Need To Have a Mix of Renewables to Both Provide Energy and Stable Grid:
  Mid-day Power --- flat on-site PV
  Sunrise to Sunset Power --- concentrating solar
  Sunrise to Sunset w Inexpensive Thermal Storage --- concentration solar thermal
  Baseload --- geothermal or bio-electric

## Slide 30: Renewable Energy COST, cents/kWh (6, 7,9) levelized with current subsidies extended, 2009$
TECHNOLOGY | EARLY $/KW | PLANTS cents/KWh | LATER $/KW | PLANTS cents/KWh | Capacity Factor
Bio-Gas | 3,000 | 11 | 3,000 | 11 | 0.85
Wind | 2,000 | 7 | 1,700 | 6 | 0.40
Geothermal | 3,850 | 8 | 3,750 | 8 | 0.92
Bio-Mass | 3,000 | 11 | 3,000 | 11 | 0.85
Small Hydro | 1,700 | 7-9 | 1,800 | 8-10 | 0.30
Parabolic Trough - 6 hr storage Dish Stirling | 6,350 4,000 | 18 13 | 3350 2200 | 10 7 | 0.41 0.28
Flat Plate PV Residential, 3.8kW Commercial100kW 3rd Party,10 MW Utility IPP, 10 MW | 6,000 5,500 4,750 4,750 | 15 8 16 19 | 4,100 3,900 3,300 1,700 | 10 5 10 12 | 0.19 0.19 0.19 0.21
Concentrating PV | 6,000 | 15 | 3,000 | 10 | 0.30

## Slide 31: 2020 Energy Cost Without Current Subsidies, cents/kWh
Technology | With Subsidies | Without Subsidies | Capacity Factor
Bio-Gas | 11 | 12 | 0.85
Wind | 6 | 8 | 0.40
Geothermal | 8 | 12 | 0.95
Bio-Mass | 11 | 12 | 0.85
Small Hydro | 9 | 11 | 0.53
Parabolic Dish-Stirling | 10 7 | 14 10 | 0.41 0.28
Flat Plate PV - Residential - Commercial 3rd Party10MW | 10 5 8 | 17 12 20 | 0.19 0.19 0.19
Concentrating PV | 10 | 13 | 0.30

## Slide 32: Delivered Energy Cost from Utility Battery Storage
Chart: Percent Renewable Energy Through Storage
| 0 | 0.25 | 0.5 | 0.75 | 1
"25% Residential PV" | 9.75 | 14.8938 | 20.0376 | 25.1815 | 30.3253
"50% Residential PV" | 11.5 | 16.7926 | 22.0851 | 27.3777 | 32.6703
All Wind - No PV | 7 | 11.9101 | 16.8201 | 21.7302 | 26.6403

## Slide 33: Using Battery Storage
Utility Battery
  VRB Flow Battery
  Based on 2 MW Unit with 6 Hr at $6.3 M
  Round Trip Efficiency = 66%
Doubles the Cost of PV Mix
  Raises EC from 10 to 20 cents/kWh
    If 50% Residential and Commercial in PV Mix, and
    If 50% PV Mix Goes Through Storage
More Than Doubles the Cost of Wind Energy
- 7 to 17 cents/kWh
Battery Storage Is Expensive

## Slide 34: Environmental Impacts
To Minimize Local and Global CO2 Impacts, U.S. To Reduce CO2 by 80% by 2050
All RE Options
  Avoid Onerous Impacts of CO2
  Desirable As a Class of Options
Among RE Options, There Are a Range of Lesser and Local Impacts

## Slide 35
TECHNOLOGY | ATTRACTIVE FEATURES | UNATTRACTIVE FEATURES
BIO-GAS | Disposes of Significant Green House, Smog Producing and Bad Smelling Gas Commercially Available - Inexpensive Baseload Power - Near Urban Area | - Must Mitigate Exhaust Pollutants
GEOTHERMAL | Renewable Source (when properly managed) Commercially Available - Inexpensive Baseload Power | Need to Manage Impacts - Scrubbers for Air Pollution - Dispose of Spent Brine - Waste Drilling Fluids and Tailings Needs Access to Transmission Line Can Be Depletable
BIO-MASS | Commercially Available Baseload Power | - Must Mitigate Exhaust Pollutants Limited and Variable
HYDRO | Renewable Commercially Available | - Need to Manage Impacts Especially Fisheries, Wildlife, Cultural, Recreational & Scenic

## Slide 36
TECHNOLOGY | ATTRACTIVE FEATURES | UNATTRACTIVE FEATURES
PARABOLIC TROUGH and CENTRAL RECEIVER | Very Large Resource Good Peak Power Match Inexpensive Heat Storage and/or Hybrid Operation Extends Operation After Sunset | Capital Intensive Significant Environmental Land Impacts (scrapes all land) Needs Flat Land (<1%slope) - Needs Access to Transmission Needs Water for Wet Cooling
PARABOLIC TROUGH | Installed Cost, O&M, Operation Are Known | Eventual Commercial Cost Must Be Reduced Cost Effective in 60 MW Size Minimum Land is 0.6 mi2
CENTRAL RECEIVER | - Eventual Commercial Cost Likely Less Than Trough | Commercial Cost and O&M Not Proven Cost Effective in 100 MW Size and Minimum Land Is 1.0 mi2

## Slide 37
TECH | ATTRACTIVE FEATURES | UNATTRACTIVE
Conc. PV and DISH-STIRLING | Very Large Resource No Cooling Water Needed in Desert Good Peak Power Match Can Use Irregular Land with Steeper Slope No Site Grading Needed & Compatible with Ranching Wide Range of Commercial Sizes Can Integrate into Load Center as Part of Industrial Site or Large Home Development | No Thermal Storage Production Scale-Up Needed To Reduce Cost Capital Intensive Needs Access to Transmission Lines for Large Plants
DISH-STIRLING | - Hybrid Operation Extends Operation After Sunset (when dual fuel engine developed) Hybrid Efficiency is High (~ 38%) | Need to Develop Dual Fuel Engine Using CH4 or Biofuels for Hybrid Operation

## Slide 38
TECH | ATTRACTIVE FEATURES | UNATTRACTIVE FEATURES
WIND | Proven Commercial Technology Low Capital and Energy Costs Reciprocal Availability to Solar Displace Evening Burning of Fossil Fuels Provide Energy During Off-Peak to Power Emerging Huge Load of Pluggable Electric Vehicles Good Dispatching with Accurate Wind Forecasting | Almost No Peak Displacement Impacts Viewscape (good or bad) Environmental Impacts Such as Bird/Bat Kills (can be mitigated with good layout design) Needs Minimum Separation Distance to Residences (~ 0.5 to 1 mile) to Avoid Sound Impact
FLAT PV On-Site | Installed Cost, O&M, Operation Are Known Roof-top Avoids Land Use Issues Operates Within Grid Without Transmission Lines Reduces Distribution Costs | Capital Intensive Summer Power Reduced 20% Due to High Temperatures Poor peak load reduction

## Slide 39: 2020 RE Projection
To Minimize Fossil Fuel Use and/or Expensive Storage
To Use Lower Cost Options
To Be Mindful of RE Impacts
To Balance Between In and Out of SD Cty

## Slide 40: Projection of SD Region Renewable Energy Sources, 2020 Avg Capacity Factor = 0.37
RE Source | Power, MW | Share RE Power | Capacity Factor | Energy, GWh/y | Share RE Energy
On-Site PV | 600 | 19% | 0.18 | 950 | 9%
Large Scale PV | 300 | 9% | 0.20 | 530 | 5%
Sunrise to Sunset Tracking Solar | 850 | 27% | 0.29 | 2,160 | 21%
Sunrise to Sunset with Thermal Storage | 500 | 16% | 0.41 | 1,800 | 17%
Wind | 600 | 19% | 0.40 | 2,100 | 20%
Baseload Geothermal, Biomass, etc | 350 | 11% | 0.90 | 2,760 | 27%
TOTAL RE | 3,200 | 100% | 0.37 | 10,300 | 100%

## Slide 41: SD County Share of Total Renewables
 |  |  |  | 2020 |  | 
CENTRALIZED, MW |  |  |  | SD County |  | Region
Concentrated Solar |  |  |  | 100 |  | 1350
Geothermal |  |  |  | 0 |  | 270
Wind |  |  |  | 250 |  | 600
Other: |  |  |  |  |  | 
Biomass |  |  |  | 35 |  | 35
Biogas |  |  |  | 35 |  | 35
Small Hydro |  |  |  | 10 |  | 10
Total Centralized,MW |  |  |  | 430 |  | 2300
DECENTRALIZED, MW |  |  |  |  |  | 
On-Site PV |  |  |  | 595 |  | 600
Large Scale PV |  |  |  | 150 |  | 300
TOTAL POWER, MW |  |  |  | 1175 |  | 3200
SUMMARY for SD County | Centralized |  | Distributed | Total |  | 
Power MW = | 14% |  | 23% | 37% | plus solar thermal and on-site CSP | 
Energy GWh/y = | 17% |  | 11% | 28% |  | 

## Slide 42: Results by 2020
RE Total = 50% of Total Grid Energy
RE avg Capacity Factor = 0.37
  Compared to 0.18 for on-site PV
  Compared to 0.54 for Current Grid
SD County Share of Total RE
  37% Power
  28% Energy
RE from Outside SD Cty Less Than Current Import Capacity of Transmission System:
  1925 MW less than 2600 MW (excluding Sunrise)
  Should Displace Currently Imported Fossil Energy
No New Transmission Wires Needed

## Slide 43: Results, continued
Balancing 10 RE Technologies Could Achieve:
  Grid Capacity Factor of About 0.37 to Contribute to Stable Grid and Minimize Use of Expensive Storage
  50% SD Energy by 2020 to Minimize Fossil Use
  Balancing of RE Environmental Impacts
Lower Average Cost (in 2020 w/o current subsidies)
  RE in Baseline Projection Costs $1200 M/yr
  Doubling on-site PV Increases Cost by $60M/y
  Tripling on-site PV Increases Cost by $ $115M/y
By Displacing 50% of Grid Energy by 2020, Would Take Major Step in Reaching 80% Reduction of GHG by 2050

## Slide 44: Barrier to Long Term Solution to CC
What Made Sense from One Particular Point of View Is Not Supported by Other Views
Solutions Stymied by Lack of Consistent Political Support in the U.S.
Government Policies Flip-Flop from Administration to Administration
    e.g. NFC to Reagan/Bush to Clinton to Bush to Obama
Need Framework to:
  Understand Conflict, and
  Devise Strategy to Overcome This Barrier

## Slide 45: A Framework for Conflicts Over Energy
Use Cultural Anthropologists
  “Cultural Bias Theory”
Made Up of Internally Consistent World Views
Coping Strategies (Not Personality Types)
Enable Efficient Decision Making When Faced with Complex Situations
4 ENERGY TRIBES:
  Egalitarian
  Hierarchical
  Individualism
  Fatalism

## Slide 46: HIERARCHICAL
  See the world as controllable
  Nature is stable until pushed past discoverable limits
  Environmental management requires certiﬁed experts to determine the precise locations of nature’s limits
  Statutory regulation to ensure that all economic activity is kept with those limits
  Man is malleable, deeply ﬂawed but redeemable by ﬁrm, long-lasting, and trustworthy institutions
  Fair distribution is by need, and the need is determined by expert and dispassionate authority

## Slide 47: EGALITARIAN (core ecologists)
Nature is fragile and intricately interconnected
Man is seen as essentially caring (until corrupted by coercive institutions such as markets and hierarchies)
We must all tread lightly on the earth --- almost any impact is unacceptable
It is not enough that people start off equal ---- people must end up equal
Trust and leveling go hand in hand, and institutions that distribute unequally are distrusted
Voluntary simplicity (conservation) is the only real solution to our environment problems

## Slide 48: INDIVIDUALISM
View nature as benign, resilient, and able to recover from any exploitation
Man is inherently self-seeking and atomistic
Trial and error in self-organizing ego-focused networks (unfettered markets) is the way to go
Those that put in the most in should get the most out
Inequity is good and a natural part of the world of people
Institutions that work with the grain of the market are what society needs

## Slide 49: FATALISTIC
Neither rhyme nor reason makes sense in nature
Man is ﬁckle and untrustworthy
Fairness is not to be found in this life
There is no possibility of effecting change for the better
Learning about nature is impossible
A reasonable management response would be, “why bother”

## Slide 50: EACH ENERGY TRIBE NOT COMPLETE
Have Strong Capabilities
Have Blind Spots
To Formulate and Implement Effective Approach Would Require a Blending of All

## Slide 51: Hierarchicals
STRONG AREAS
Can Create Structure and Rules
  Enforce Property Rights
  To Redistribute Resources to Limit Inequalities
  To Limit Environmental Damage
Many Ways to Solve Internal Conflicts
Can Increase Resource of People
SHORTCOMINGS
Tends to Lack Transparency and Moves Toward Central Control
Would Lead To:
  Corruption
  Arbitrary Use of Power
  Tunnel Vision
  Lack of Innovativeness
  Moral Fragmentation

## Slide 52: Egalitarians
STRONG AREAS
Distrust of Central Control
Demands Transparency of Transactions
Protests Inequalities
Protest ANY Environmental Impacts
SHORTCOMINGS
Local Impacts Trump Global
No Official Leadership
Wants to Avoid Activities That Produce Inequalities
  Will Limit Economic Production

## Slide 53: Individualism
STRONG AREAS
Can Increase Resources of People
Distrust of Central Control
Innovative
Well Organized and Disciplined
SHORTCOMINGS
Will Accumulate Resources Unequally
  Lead To Social Instability
Does Not Recognize Environmental Damage as a Problem
Avoids Solutions That Involve Role for Govt.

## Slide 54: Fatalistics
STRONG AREAS
Can Strengthen Egalitarians by Continually Replenishing Moral Outrage to Keep Organization Together
SHORTCOMINGS
Can Not be Part of Any Constructive Solution to Any Problem

## Slide 55: Energy Tribes Views of Climate Change - Causes - Solutions

## Slide 56: How EGALITARIANS See Climate Change
Causes:
  Profligate Consumption
  Obsession with Economic Growth which Generates Great Inequities
  Environmentally Unsustainable Production
Solutions:
  Live in Harmony with Nature and Each Other
  Solutions Must Be Proven to Have Innocuous Impacts
    Approaches with any local impacts need to be excluded from contributing to global solutions
  Industrialized Countries Need To Fundamentally Reform
    Political Institutions
    Unsustainable Lifestyles

## Slide 57: How HIERARCHICALS See Climate Change
Causes:
  Continued Use of Fossil Fuels Will Wreak Havoc
  Lack of Global Governance to Limit Global Markets and Protect Global Commons
  Those Who Are Skeptical of Global Intergovernmental Treaties Based on Science and Expert Advice
Solutions:
  To Limit Population Growth
  To Limit Economic Growth
  To Gradually Change to non-GHG Energy
  All Governments Formally Agree on Emission Cuts

## Slide 58: How INDIVIDUALISM See Climate Change
Causes:
  Much Ado About Nothing
  Naïve Eco-freaks Who Think the World Can Be Better by Wishing It So
  International Bureaucrats Looking to Expand Budgets
Solutions:
  Even If Climate Change Is Occurring, Results Not Catastrophic Nor All Negative
  This Is Not New, i.e. we are faced with uncertainty and challenges that need to be tackled boldly by diverse competing agents for the benefit of all
  Innovative Business As Usual

## Slide 59: Does Mother Nature Care About Tribal Perceptions ?
Reality of What Is Happening Physically on the Planet Is Indifferent to Human Views

## Slide 60: Examples of Overlap of Views
All Tribes | None
Hierarchical & Egalitarians | - Too Much Consumption/Fossil Use Human Caused Climate Change - Distributed PV and Solar Are Good - Energy Efficiency Is Good
Hierarchical & Individualism | - Market Economics is Important - Need to Minimize Barriers to Large Energy Projects
Egalitarians & Individualism | - Distrust Central Authority

## Slide 61: Characteristics of Energy Tribes Theory
Tribes arguing from different premises
Will never fully agree
Each distils certain elements of experience and wisdom that are missed by the others
Each needs the others:
  each is incomplete in some important aspect
  each represents a part of what is needed
Unfortunately, Each Tribe Thinks It Is Complete In It’s World View,
  it is almost a moral issue to violate any of its precepts

## Slide 62: To Use Energy Tribes for Policy Framework
Policy Approach Should Be:
  Reviewed Through the “Eyes” of Each Energy Tribe
  Reasonable to More Than One Particular Tribe
Any Short Comings from Tribe’s View Needs to Be:
  Acknowledged, and
  Accommodated To Some Extent
Overall Approach for Long Term Policy Stability:
  All need to be respectful and inclusive,
  KEEP EVERYONE in the (messy) PROCESS
Be Pragmatic not Doctrinaire for the Long Haul

## Slide 63: Limitation to Energy Tribe Framework
Little Evidence That Different Energy Tribes Are Willing to Be Less Doctrinaire and More Pragmatic
U.S. Congress:
  Increasingly Stringent in Imposing Personal View on Entire Process
  Fails to See Need/Value of Other Views
  Fail to See Limits to Own Perceptions
If Pragmatism Is Required for the Long Haul, There is Little Basis for Optimism

## Slide 64: Any Areas of Specific Agreement ?
When State/Federal Programs Stimulate RE and EE, an Area of Agreement Emerges:
  On-site Distributed Solar, and
  Energy Efficiency in Profit Making Situations
  These Contribute to About 3/5s of the Solution
Reasons for Support
  Egalitarians See It As Having No Impacts
  Individualism See It As a Business Opportunity
  Hierarchicals See It As Part of Long Term Plan

## Slide 65: Can Lack of Pragmatism Be Overcome for Other 2/5 of Solution ?
1. Can a Public Education Program Encourage Citizens to:
  Vote for Pragmatic (moderate) Candidates ???
  Avoid Doctrinaire Candidates ???
2. Can a 3rd Political Party Be Formed ???
Can We Build on This Initial Area of Overlap, e.g. Distributed Solar, EE, Bio-fuels ?
Can a Proactive Program be Designed to Reduce Conflicts Over Remaining RE ?

## Slide 66: Proposed Next Steps
Continue Support for On-site Solar and EE
Use Public Participation Process (PPP) to Encourage Support for Rest of Renewables
  - Focus on Areas of High Conflicts Such As:
    Solar Power Plants
    Wind Farms
    Waste Biomass Plants
    Biomass Liquids from Wastes and Low Productivity Land
    Geothermal Plants
    Transmission Lines
  - Bring Stakeholders Together in Different Conflict Zones
  - Use PPP Professional to Broker Dialogue and Develop Consensus

## Slide 67: Public Participation Process, continued
For Each Conflict Zone,
  Find Areas To Be Placed Off Limits
  Find Areas To Be Develop
Develop Each Opportunity with Multiple Energy Tribe Buy-in
Streamline Approval Process
Example Is Desert RE Conservation Plan in CA

## Slide 68: CA Example: Desert RE Conservation Plan
Major Elements
  Established by Governor
  35 Stakeholders plus federal and state agencies
  Covers Mojave and Colorado Deserts
  To provide binding, long-term endangered species permit assurances
  To facilitate renewable energy project review and approval processes
Establishes Renewable Energy Action Team (REAT) To Oversee Implementation

## Slide 69: Need to Extend This Process to All Renewables In Conflict in All Geographic Areas

## Slide 70: References
Caputo,R., Hitting the Wall: A Vision of a Secure Energy Future, Morgan and Claypool, Dec. 08
Tackling Climate Change, Chuck Kutschler, editor, American Solar Energy Society, Jan. 2007
3. San Diego Regional Renewable Energy Study Group, Potential for Renewable Energy in the San Diego Region, August 2005
4. Promise of Renewable Energy in San Diego, SANDAG Energy Working Group, Renewable Energy Team, Butler,B., R. Caputo, S. Fralick, S. Debenham, 5June06
5. Powers, B., San Diego Smart Energy 2020, E-Tech International, Oct. 2007
6. Comparative Costs of California Central Station Electricity Generation Technologies, CEC-200-2009-017-SD,Aug.2009
7. Solar Advisor Model (SAM), version 2010.4.12,
8. Potential for Renewable Energy in San Diego County, Scott Anders et al, San Diego Rnewable Energy Group, Aug 2005
9. Wiser,R., et al, Tracking the Sun: The Installed Cost of Photovoltaics in the U.S. from 1998 to 2007, Lawrence Berkeley Laboratory, Feb 2009
10. Caputo,R., Butler,B., The Use of “Energy Parks” to Balance Renewable Energy in the San Diego Region, ASES Solar2007 Conference, Cleveland, July 2007
11. Anders, S., Bialek, T., Technical Potential for Rooftop PV in the San Diego Region, 2010
12. www.gosolarcalifornia.ca.gov/
13. Herig, C., Using Photovoltaics to Preserve California’s Electric Capacity Reserves, NREL/BR-520—32279, Sept 2001

## Slide 71: Richard Caputo P.O. Box 1660 Julian, CA 92036 760-765-3157 richardcaputo@sbcglobal.net www.sdres.org www.ases.org